PHYSICS NYB

EXPERIMENT: Kirchhoff’s Rules

Objective:  To verify Kirchoff’s rules:

Loop Rule:  The sum of all potential differences encountered while going around any closed loop in a circuit is zero:   iVi=0.

N.B. When going from (-) to the (+) terminal of an emf there is a positive difference of potential and when going through a resistor along the current direction there is a negative difference of potential. In the difference of potential (V2-V1), V1 is the previous and is the last value V2first following a selected direction of circulation in circuit.

Junction Rule: The sum of all currents flowing into or out a junction in a circuit is zero:  iIi=0.

N.B. A current flowing into the junction is considered positive while the current flowing out of a circuit is considered negative.

Materials: Three resistors R1= 20 Ohm, R2=30 Ohm, R3=100 Ohm; two 6V sources,

a voltmeter and an ammeter.

Procedures: Before building the electric schemas, measure and record the precise resistance values by using a multimeter.

J1

I1

I2

I3

V1

V2

S1

S1

R1

R2

R3

-Connect the circuit shown in figure 1

- Switch the switches S1, S2.

- Measure and record “quickly” the terminal voltage V1,V2 of two sources using the voltmeter, and three current values I1, I2 and I3 using the ammeter.

- As far as finished with these measurements, switch off S1, S2 to avoid the discharge of batteries.

- Use the measured values V1,V2, I1, I2 and I3 in formulas ( 1,2,3  ) and verify if they transform them to identities . Use the uncertainty calculations to prove this.

Figure 1

After selecting the circulation direction as shown in the figure the Kirchoff’s rules give:

Loop _1:                           V1−I1∗R1+I2∗R2−V2=0→→R1∗I1−R2∗I2=V1−V2             (1)

Loop _2:                                        V2−I2∗R2−I3∗R3=0→→R2∗I2+R3∗I3=V2             (2)

Junction _J1:                                                               I1+I2−I3=0→→I1+I2=I3              (3)

Next, build the scheme presented in figure 2 by inverting the poles of battery 2. Write three equations (1’, 2’, 3’) derived from the Kirchoff’s rules for the scheme in figure 2. Measure and record V1,V2, I1, I2 and I3. Repeat the procedure of verifications the same way you did for the scheme in figure 1.

J1

I1

I2

I3

V1

V2

S1

S1

R1

R2

R3

# Calculations

- Put the measured values for terminal voltages V1, V2, and resistors’ values  R1,R2, R3,  in the equation  (1’, 2’, 3’) derived from Kirchoff’s rules for the scheme in figure 2.

-Calculate the three current values I1t, I2t and I3t from these equations.

- Compare the calculated values with the measured values I1, I2 and I3.

Figure 2

Conclusions:

- Do your measured data satisfy the Kirchoff’s rules at junction J1 and around the two loops for the scheme in figure 1?

- Do your theoretical calculations based on Kirchoff’s rules fit with measured values for currents corresponding to the scheme in figure 2?